# MJB Electric Service Inc.

# 804 Busch Ct.

# Columbus, Ohio 43229

# Ph.  847-1952  Fax  848-7611

July 22, 2009

Change Order Request #1

Nate Craft

Prater Engineering

Re: Jasonway Generator

Dear Nate:

I am pleased to submit this change order for electrical work at the project listed above. This change order includes the following:

- Change all receptacles tied to the generator to red.

Cost: $395.00

- Add 1- receptacle tied to the generator at the file storage area

Cost: $275.00

Total job cost: $670.00

Sincerely, Chad Miller